	[image: image1.wmf]ECC

Electronic Communications Committee

CEPT



	
 

	Project Team FM22
	

	
	

	36th Meeting of FM22 

Split, 04 – 07 October 2011
	FM22(11)49

	Date issued: 
	17 September 2011

	Source:
	Orange

	Subject:   
	Measurement of BEMs, their uncertainties and Draft REC (11) 06.

	
Password protection required? (Y/N) 


	

	Summary: 

Methods of measurement for BEMs, and their measurement uncertainties have been the topic of a number of exchanges with FM 22, in particular in relation to measurements performed in the field, once the systems are in operation.
A global approach for the evaluation of the measurement uncertainty is proposed in this contribution, together with an «Empirical approach to find a model of the system» that can be used to obtain some of the values/parameters needed for the measurement uncertainty calculations, in particular when the values of the EIRPs of the transmitters are to be found on the basis of field stength measurments.

Such approaches might be useful when measurements of BEMs are to be performed and the corresponding measurement uncertainty are to be evaluated :

so, there are now in hand two approaches that may be used together or in parallel.

	

	Proposal: 

It is hereby proposed that FM 22 has a thorough look at the measurement uncertainties related to Draft Rec (11) 06, in particular to those relating to the radiated measurements of BEMs  before the document is published.

As a minimum, the tittle of the Draft Rec (11) 06 should include the word “principles” because it would better correspond to the content of the Draft Rec (11) 06, as it is at the moment.

	

	Background:


A number of responses to the public consultation on Draft Rec (11) 06 refer to constraints on measurements done in the field, for the evaluation of the EIRPs relating to BEMs, and to the importances of the corresponding measurement uncertainties. 

Proposals have also been made to include in the Draft Recommendation other options for the evaluation of the BEMs, such as calculations. 

Under such conditions, the Draft Recommendation would include the two approaches (e.g. calculations and radiated measurements).

	


Digital Measurements and 

Global Methods for the calculation 

of measurement uncertainties

Introduction

Methods of measurement for BEMs, and their measurement uncertainties have been the topic of a number of exchanges with FM 22.

An approach to the evaluation of measurement uncertainties investigated in great detail in ETSI TR 100 028 is based upon :

- the identification of the various sources contributing to the uncertainty and their characteristics

- the identification of the mathematical relations between the various sources and parameters

- the combination of the various sources of uncertainty.

The table “D.3.12 Combination of distributions – Summary table”in Annex D (of Part 2) shows the relations between basic mathematical operations and measurement uncertainties. 
Further work in that direction, in more recent years, has allowed establishing similar relations, in particular, when trigonometric functions are concerned.
Such work had also been flagged to FM 22, one year ago (or more).
So, step by step, it should be possible to evaluate the uncertainty related to BEM measurements, once the uncertainty due to every contribution has been evaluated.

Example of difficulties when using digital readings.

When the reading of some digital instrument is « 123,45 » … the question can be, for example, due to the uncertainties, how much is « ,45 » relevant, or even the « 3 ».

Therefore, it is of prime importance to have a clear picture of the measurement uncertainty, in particular when sophisticated instruments providing a digital reading are used, for example in a field strength measurement … in particular when such results have to be converted in something else, for example the EIRP of the transmitter being observed.
Two photos are also included showing difficulties when choosing where to make measurements, in particular in order to avoid reflexions …

More global approaches for the calculation 

of measurement uncertainties
In the case of BEM measurements, it can be expected that the final result of the measurement will be the outcome of  calculations based upon elements  Ij  such as :

· reading of instruments (e.g. field strength)

· distances (e.g . from the antenna considered to the measuring system, or from the base of the mast of the antenna to the measuring system)

· angles…

for example, the outcome  g1 could correspond an expression such as :

g1 ( I1 , …  Ij , … In  ).

In this global approach for the evaluation of measurement uncertainties of a particular measurement (e.g. a BEM measurement), the input variables (understood to be corresponding also to random variables) can be expected as having very small variations around some value « the original condition(s) ».

Should  Ij be an element of such « original conditions », then small variations around Ij , would be named dIj.

Under these conditions, it can be more convenient to consider Ij as a constant and  dIj as the associated random variable to be further handled in the statistical/probabilistic analysis (See TR 100 028, Part 2, Annex D).

In order to continue the evaluation of the measurement uncertainties, with this approach, the set of functions  gk  to be considered is (and it can be noted that the set might be reduced to one equation in the case of BEMs, but in the field, it might be felt necessary to address, for practical reasons, also other equations) :

· g1 ( I1 , …  Ij , … In  )

· gk ( I1 ,   …  Ij , … In )

· gp ( I1 ,   …  Ij , … In  ).

Its differentiation provides a set of  p  relations :


[image: image2.wmf]n

n

j

j

dI

I

g

dI

I

g

dI

I

g

dg

¶

¶

+

+

¶

¶

+

+

¶

¶

=

1

1

1

1

1

1

....

....



[image: image3.wmf]n

n

k

j

j

k

k

k

dI

I

g

dI

I

g

dI

I

g

dg

¶

¶

+

+

¶

¶

+

+

¶

¶

=

....

....

1

1



[image: image4.wmf]n

n

p

j

j

p

p

p

dI

I

g

dI

I

g

dI

I

g

dg

¶

¶

+

+

¶

¶

+

+

¶

¶

=

....

....

1

1

   .

In fact, for a particular measuring point, this is a set of   p  linear expressions  (involving  n  variables ) which can be considered as a linearization of the original system.

The translation of the above set of expressions in terms of uncertainties provide, by RSSing, when the various components are independent :


[image: image5.wmf]2

2

1

2

2

1

2

1

2

1

1

2

1

....

....

dIn

n

dIj

j

dI

g

I

g

I

g

I

g

s

s

s

s

ú

û

ù

ê

ë

é

¶

¶

+

+

ú

ú

û

ù

ê

ê

ë

é

¶

¶

+

+

ú

û

ù

ê

ë

é

¶

¶

=



[image: image6.wmf]2

2

2

2

2

1

2

1

2

....

....

dIn

n

k

dIj

j

k

dI

k

gk

I

g

I

g

I

g

s

s

s

s

ú

û

ù

ê

ë

é

¶

¶

+

+

ú

ú

û

ù

ê

ê

ë

é

¶

¶

+

+

ú

û

ù

ê

ë

é

¶

¶

=



[image: image7.wmf]2

2

2

2

2

1

2

1

2

....

....

dIn

n

p

dIj

j

p

dI

p

gp

I

g

I

g

I

g

s

s

s

s

ú

û

ù

ê

ë

é

¶

¶

+

+

ú

ú

û

ù

ê

ê

ë

é

¶

¶

+

+

ú

û

ù

ê

ë

é

¶

¶

=

   .
An advantage of this approach is that for the determination of uncertainties relating to the set of  p linear expressions of  n variables, there is no real need to have an explicit expression of the equations as:

· g1 ( I1 ,   …  Ij , … In  )

· gk ( I1 ,   …  Ij , … In )

· gp ( I1 ,   …  Ij , … In  )

because the various parameters can be found thanks to minor variations around the original points (see the section below «Empirical approach to find a model of the system»).

It has finally to be noted that, in this approach, the output random variables can be matched directly to the estimation of the uncertainties corresponding to measured values (probability of having the error within a certain interval), as opposed to more traditional approaches where the output random variables would correspond to the probabilities of having a value of the measurement itself within a particular interval.

More precisely, the difference in interpretation differs by a constant, which is the measured value. 

Therefore, calculations on uncertainties and sigmas ( (  ) are the same when using both approaches …

Examples of application to particular cases

Using random variables together with differentiation in a measurement,

in the case of multiplicative functions
In the case where the equations correspond to the multiplication of several elements, the set of functions can be written as:

· g1 ( I1 , …  Ij , … In  )  =  A1 ( I1 )b1 … ( Ij ) bj … ( In ) bn
· gk ( I1 ,  …  Ij , … In )  =  A2  (  ) ….  

· gp ( I1 ,  …  Ij , … In  ) =  …
.
In this case, it may be more convenient to use other types of expressions:

· either


[image: image8.wmf]n

n

n

j

j

j

I

dI

b

I

dI

b

I

dI

b

g

dg

+

+

+

+

=

....

....

1

1

1

(logarithmic differentiation)

· or … to transform the expressions into dBs.

In this last case we could get a set of functions that might be linear.

The handling and understanding of these situations is similar to that given above … with the exception that the random variables (and corresponding sigmas) can be mapped now to relative values, as opposed to absolute values.

It has to be noted, finally, that in these global approaches random variables (and sigmas) may have a unit (mA, Volts, etc) while in other cases random variables (and sigmas) may correspond to relative values and will have no real units (noting that values expressed in dBs are some kind of relative values).

Substitution measurements
Substitution measurements are often used in radio. It is expected by doing so, to reduce the influence of some parts of the set up, and their contribution in the uncertainty.

The methodology presented above is based on the handling of a set of   p  functions of  n  variables.

In the case of  substitution measurements, the test set up for the measurement of radio systems can be modelled using two of these sets of equations:

-
one equation corresponding to the test set up "before" the substitution,

-
one equation corresponding to the test set up "after" the substitution.

These sets of equations can therefore look like:

· g1 ( I1 , …  Ij , … In  )

· g2 ( I1 , …  Ij , … In )

The practical handling and understanding of this set of two equations is similar to that given above … with the exception that the random variables involved in the two sets of equations are not necessarily independent …and that the aim of this method is to reduce the number of terms to be taken into account. 

This is usually done by calculating the equation(s) corresponding to the difference (subtraction) of a couple of equations of the set.

It is therefore basic to identify:

· which inputs are in reality  identical and appear in a way that they can be discarded (no contribution for the uncertainty, e.g. a cable which is used twice in the same conditions)

· which inputs (mapped to contributions of the uncertainty) are independent

· which inputs (mapped to contributions of the uncertainty) are not independent.

As a result of this analysis, some of the contributions are to be combined by RSSing, others disappear, others have to be combined in other ways (e.g. by linear combination) … 

Substitution methods are often used for radio measurements because they are expected to provide better results. However, the analysis required for the evaluation of the corresponding uncertainties requires most probably more care than the analysis required in the case of direct measurements.

Empirical approach to find a model for a ”system”
When the equations are difficult to reach or to handle, it is also possible for a complete system or for a part thereof (see paragraph below on « sub-systems ») to try and find the equivalent of the partial derivatives (i.e. the coefficients needed in the linear equations) by practical means.

Having the measurement set up operational for the measurement being considered, and having performed that measurement once, it is then possible to make "small" variations of the settings and parameters of the various instruments and calculations.

Such small differences (matching mathematically the  dIj ) shall be :

· small enough so that the system being analysed can be considered as linear within that range
 ( + dIj )

· large enough compared with the uncertainties of the measurement ("measurement noise", effect of reflections and multipath, etc …)

· small enough so that equipment remains within the same operating range (e.g. the same scale for a voltmeter)

· made preferably both sides of the original setting ( Ij ) , in order to obtain directly  + dIj  .

The observation of the effect of    + dIj    compared with that of   - dIj  can give precious hints on the validity of the expressions being used.

The direct observation of the outputs of the system, would allow for a model to be established, providing the effect of the corresponding inputs (i.e. providing the values of the various coefficients corresponding to the   
[image: image9.wmf]k

j

g

I

¶

¶

 
above).

Each time an input value is changed, it should be, for a while brought back to its initial value  ( Ij ) , and the measurement performed again. In this way, there is a great number of evaluations of the measurand under nominal conditions, which gives a good visibility of the « stability » of  the set up. 

The knowledge of the dispersion of the results can be very helpful in order to choose how small should be the variations ("step sizes") in the settings of the various instruments (it is important to avoid taking noise (reflections, effect of multipath, etc …) for the effect of variations of the inputs ! ) or choice of parameters.


Example of sequence of such steps:

· ( I1 

, …  Ij , … In  )

· ( I1 + 

, …  Ij , … In  )

· ( I1 

, …  Ij , … In  )

· ( I1 - 

, …  Ij , … In  )

· ( I1 

, …  Ij , … In  )

· similar sequence for  I2 

· etc …until … In .

With  4  measurement points per input variable … there are  4 n  points to be measured. More points may be necessary if the effects are not « very » linear or symmetric).

Obviously, this procedure is supposed to cover only those parameters for which small variations are possible (or meaningful). This procedure can be very useful when the mathematical expression(s) providing the effect of such inputs is/are difficult to obtain (or very complex).

Splitting into sub-systems

The aim of defining sub-systems is 3 fold :

· to keep equations within manageable sizes,

· to provide "building blocs" which could be used several times, without further mathematical work  (i.e. subsets common to different measurements),

· to support and simplify methods such as substitution methods, where parts of the set up are expected to be used twice (or more times).

One of the major problems one has to cope with is the need, in radio measurements, to handle simultaneously electrical signals whose levels cover several orders of magnitude. 

Therefore, in some cases it is more practical to handle dBs, in others to handle linear terms. 

The usage of sub-systems could, in some cases help this problem: an attempt could be made to isolate, in some sub-systems, parts to be handled in dBs, and, in other sub-systems, parts to be handled in linear terms, in an attempt to reduce the number of conversions.

In any case, it has to be stated once again that all the analysis relating to the combination of random variables are based on calculations on independent random variables.

Therefore, to be in a position to use these methods, great care has to be taken to ensure that there are not two variables not independent in two different sub-systems.

It is also reminded that an empirical method has been proposed above in order to establish a model for a complete systems or parts thereof. 

Such possibilities may have also to be taken into account when trying to split systems into subsystems.

In the case of automated uncertainty evaluation systems, splitting in sub-systems could lead to concepts having a flavour of « subroutine(s) » or even a flavour of « object oriented » systems/modules. 

Validation
In order to validate the method(s) proposed hereby, it could be interesting to take one set of expressions, and compare :

· the measurement uncertainties obtained by differentiation (as proposed above)

· the measurement uncertainties obtained by the empirical approach (as proposed above)

· the measurement uncertainties obtained by combinations (when possible), according to tables such as D.3.12. in TR 100 028 – Annex D in part 2.

Line of sight measurements, hopefully respecting the distances in order to perform the measurements in the far field ...
yet with possible reflexions

Photos 1 and 2 below provide examples of situations where there is a nice line of sight situation, but where there may be also one or more reflexions (on roofs and on the wall of the buildings right and left, in the photos).

In both cases, attention has to be devoted also to the fact that there may/are other antennas in the proximity.

These pictures have been taken a few meters from the boarder line between two European Member States, so, it would have been interesting to know what would have been the EIRPs values found by the corresponding Administrations while following the Draft Recommendation (11) 06.

Interesting also to know what would have been the results of the measurement uncertainty evaluations made by those two Administrations (and what method they have used …).

[image: image10.png]



Photo 1

[image: image11.png]



Photo 2

Examples of measurements presented with their uncertainties

Some 20 thousand measurement points have been taken into consideration, and compressed into the following figures, where slow moving signals/parameters have been shown. The corresponding measurement uncertainties have been calculated according to the methodology presented in this contribution … another form of validation of the proposal.

In these pictures, are show in green the values of signals measured with digital systems, together with the corresponding uncertainties the yellow shadowing. The measurement uncertainties have been calculated using the «Empirical approach to find a model of the system», given above, and needs to be noted that the confidence interval for the final result (in the pictures) corresponds directly to that used for the input parameters.

These pictures show clearly – if it was still needed – that it is close to impossible, to get any conclusion from one single measurement (or even from several measurements) without the associated measurement uncertainties … 

[image: image12.png]



(source, For09 of 2011 09 10, by RnA 280 v7)

[image: image13.png]



(source : Echelle 2 de For10_DAT …by  RnA 280 8B  _--_ )

Obviously, in the second picture, the uncertainties seem to be as grandiose as the signal to be measured.

… In the case of measurement on BEMs, how grandiose would have been the uncertainties  ???

Conclusion

A global approach for the evaluation of the measurement uncertainty has been proposed, together with an «Empirical approach to find a model of the system» that can be used to obtain some of the values/parameters needed, for example in BEM measurements. 

Examples of pictures obtained using these methods and principles have also been provided. 

The concept of  « sub-systems » , also presented above, could be implemented to support the use of some methods in some parts of the measurement, while others methods would be used in some other parts.

Such approaches might be useful when measurements of BEMs are to be performed and the corresponding measurement uncertainty to be evaluated, so, we have now in hand two approaches that may be used together or in parallel : 

· the classical step by step approach, based on table “D.3.12”

· a more global approach as presented above.

(File : Orange contribution - - - Digital readings and measurement uncertainties _v 9 _ on_cover sheet.doc)

N








PAGE  
2

_1003503708.unknown

_1003504203.unknown

_1003504876.unknown

_1043912968.unknown

_1003504134.unknown

_1003503188.unknown

_1003503239.unknown

_1003502863.unknown

