	[image: image1.wmf]ECC

Electronic Communications Committee

CEPT


	Doc. ECC/SE(11)Info025
ERM(11)0441r1

	Working Group SE
	

	60th Meeting of WG SE

Tallinn, Estonia, 10–14 October 2011
	

	
	

	Date issued:
	4 October 2011

	Source:
	ETSI TC ERM

	Subject:
	ETSI TR 101 557 System Reference document on Medical Body Area Network Systems (MBANSs) in the 1785 MHz to 2500 MHz


	Password protection required? (Y/N)


	


Liaison Statement
	Submitted To:


	CEPT/ECC-WG FM, Chairman Mr. Sergey Pastukh



	cc:
	CEPT/ECC-WG SE, Chairman Mr. Bruno Espinosa

ETSI ERM-TG30, Chairman Mr. Peter Chadwick

Mr. Edgard Vangeel, ETSI Liaison Officer to WG FM 

Dr. Michael Mahler, ETSI Liaison Officer to WG SE 

Mr. Marcello Pagnozzi, ETSI contact person with CEPT 

Mr. Igor Minaev, ETSI ERM Technical Officer 



	Date:
	4 October 2011

	
	

	Is this a response?:
	 No

	Response to:
	ERM(11)0387

	
	

	Reply by:
	

	
	

	Relevant WI(s), or deliverable(s):
	Work Item DTR/ERM-TG30-100 on MBANS

	Attachments:
	Version of SRdoc on MBANS approved for publication (TG30100v121.doc in ERM(11)0439)

	


Dear Sergey,

At its meeting on 12-14 September 2011, ERM TG30 approved the revised draft System Reference document (TR 101 557) on MBANS and submitted it to ERM for final approval for publication. TC ERM approved the SRdoc by correspondence on 3 Oct. 2011 for publication. The final approved version of the SRdoc is attached for your consideration. 
This revised version of the TR 101 557 contains following changes and amendments:

· The additional 3 frequency bands, suggested by WG FM were included in the SRdoc.

· More details on the frequency bands and technical specifications were added to the Executive Summary in order to better summarise the SRdoc.

· Most of the statements inserted in section 4.1 were moved to section 7.2.1.3.

· The concept of an electronic key mechanism was deleted from the SRdoc.

· Some parameters, such as power, unwanted emission levels, receiver blocking, interference criteria (C/I), channel access, and duty cycle were revisited, and some figures were introduced into the document.

· Section 11 (Requested ECC actions) was totally removed due to the change agreed by ERM in the SRdoc template.

· Section 10 (Expected ETSI Actions) was also removed, and its content was added to section 7.3.

· A summary of the preliminary assessment of the candidate frequency bands was added to the document.

In accordance with the MoU between ETSI and ECC, it is proposed that ECC considers the System Reference document, which includes necessary information for developing spectrum regulation for Medical Body Area Network Systems (MBANSs). ETSI believes that procedures for administrating and ensuring adherence to regulations should be kept minimal both for the regulator as well as for the users of Medical Body Area Network Systems (MBANSs).

A basis for regulation for license exempt operation of Medical Body Area Network Systems is requested in, for example, a new annex of ERC Recommendation 70-03 as a specific SRD application. 

It is requested that harmonised European conditions for MBANSs be developed.

Additionally, a future inclusion in the technical annex of EC Decision 2006/771/EC is requested.

Best regards,

Gabrielle Owen

Chairman ETSI ERM

N








1
WG SE – Tallinn – 10 – 14 October 2011
1/2

